## Slide 1: Pressure measurement methods

## Slide 3: McLeod gauge
Resolution =  0.1 mmHg
Rotation traps gas

## Slide 4: Manometers – measure differential pressure

## Slide 5: Diaphragm pressure gauges Good frequency response, cheap

## Slide 6: Capacitive based diaphragm transducer More sensitive

## Slide 7: Piezoelectric-based diaphragm transducer Much higher frequency response

## Slide 8: Dynamics of pressure tap systems Speed of sound in air = 343 m/sec, 1 meter takes ~ 3 msec
Inertance
Fluid resistance
Compliance

## Slide 9: Dynamics of pressure tap systems
Differential equation describing behavior of one dimensional system
Two possible solutions for gases. First solution is general. Second solution is for situation where the volume of the transducer, V, is much smaller than the volume of the tube.
V = transducer volume
Vt = tube volume
a = speed of sound in gas
ρ = gas density
D = ID of tube
µ = fluid viscosity

## Slide 10: Step function response of a second order system

## Slide 11: Ideal step function response for underdamped system

## Slide 12
Research questions:
Can we use a ramp input to obtain the damping ratio and natural frequency?
What is the dependence of damping ratio and natural frequency on tube length and does it follow the second order model?
Provides ramp input
Provides step input

## Slide 13: Simulated step input to pressure tap
Pressure sensor
Pressure tap
Pressure source

## Slide 14: Assume one can obtain ωn and ζ from the data for different tube lengths. How can we compare the system response to the model?
Assume tube volume much greater than sensor volume.
Can compare magnitudes of slopes but dependence is a good indicator.

## Slide 15: How do you measure the dynamic characteristics of a pressure transducer?

## Slide 17: Spark plug pressure sensor
Sensor